EXPERIMENT IN PROGRESS/APPARATUS LEFT RUNNING

| BUILDING: | ROOM: | START DATE: | END DATE: |
| --- | --- | --- | --- |
| EXPERIMENT TITLE/APPARATUS: |  |  |  |
| EMERGENCY ACTION: In case of fire, overheating, water leaks, failure of services, etc |  |  |  |
| PERSONS RESPONSIBLE: (must have valid contact details) - Name: Address: Tel: Mobile: - Name: Tim Woodman Address: Tel: Mobile: 07906 437 965 |  |  |  |
| CONTACT PERSON(S) NAMED ABOVE IMMEDIATELY IF EQUIPMENT IS OPERATING ABNORMALLY OR IF SERVICES FAIL |  |  |  |
| OTHER HAZARDS: |  |  | SERVICES INVOLVED (tick) Electricity……………….. Mains water…………... Cooling Water……………… Gas………………………………. Fume Cupboard / Other Ventilation…………………… Other…………………………… |
| ACTION ON FAILURE OF SERVICES: |  |  |  |
| ACTION ON RESTORATION OF SERVICES: |  |  |  |

SEE INSTRUCTIONS OVERLEAF BEFORE COMPLETING

INSTRUCTIONS

- All experiments and apparatus which are left running and unattended outside of normal working hours (Monday – Friday, 8.00 am – 6.00 pm) MUST display this card, properly completed and hung or placed in a prominent position nearby.

WHERE NO CARD IS DISPLAYED EQUIPMENT MAY BE DISCONNECTED BY TECHNICAL STAFF OR SECURITY AS A SAFETY PRECAUTION

- Instructions are to be printed clearly and in large font so that they can be easily read.

- References to switches, valves etc. should conform to the standard colour code for easy reference.

- Colour Code:

Electricity – Orange

Mains Water – Blue

Cooling Water – Dark Green

Natural Gas – Yellow

- It is recommended that card(s) are covered by plastic sheets were possible.

NOTE: Please remember to disconnect any equipment that is not in use – this will greatly assist responsible staff in the event of an emergency or services failure.